| 9/7/2005 | U.S. Department of The Interior U.S. Geological Survey | Processed by |  |
| --- | --- | --- | --- |
|  | Acoustic Profiler Beam Alignment Test Form | Ck’d by |  |
| Location |  |
| Date | , 20_____ | Party |  |
| Mfgr: | Model | Freq. | Serial No. | Firmware | Software |
| ADCP Depth | Filename Prefix | Diagnostic Test File | Test Errors? |
|  |  |  | Y or N |
| Boat/Motors Used | ADCP Water Temp | Measured Water Temp. |
|  | (C at | (C at |
| GPS Used | Moving Bed Test File | Moving bed Present? |
|  |  | Y or N |
| Site Conditions |  | Describe measurement location |
| Max Water Depth |  |  |
| Max Water Speed |  |  |
| Max Boat Speed |  | Weather |
| Water Mode |  |  |
| Bottom Mode |  | Salinity |
| Streambed material |  | ppt at | ppt at |
| Other Commands |  |  |  |
| Beam Orientation | Heading | Filename or number | Field BT/GT | Final BT/GT | Notes |
| USGS Standard | 0.995 to 1.003 |  |
| Comments |  |  |  |  |  |
|  | Sheet No. |  | of |  | sheets |