| 9-275-I | 10/24/08 |  |  |  |  | # U.S. Department of The Interior U.S. Geological Survey |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Meas. No. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Station Number |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Processed by |  |  |  |  |  |
|  |  |  |  |  |  | ## ADCP Discharge Measurement Notes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Checked by |  |  |  |  |  |
| Station Name |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Date |  |  | , 20_____ |  |  |  |  |  |  |  | Party |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Width |  | Area / Rated Area |  |  |  |  |  |  | Velocity |  |  |  |  |  |  | Index Vel. |  |  |  | Gage Height |  |  |  |  |  | Discharge |  |
| Gage Height Change |  |  |  |  |  |  | Meas. plots |  |  |  |  | From rating |  |  |  |  | Shift |  |  |  | ADCP Sync’d to WT |  |  |  |  |  |  |
| in hrs. |  |  |  |  |  |  | % diff |  |  |  |  | No.: |  |  |  |  |  |  |  |  | Y at _______ or N |  |  |  |  |  |  |
| ADCP Mfr / Model / Frequency |  |  |  |  |  |  |  |  |  |  |  |  |  | Serial No. |  |  |  |  | Firmware |  |  |  | Software |  |  |  |  |
| Boat/Motors Used |  |  |  |  |  |  |  |  |  | GPS Used |  |  |  |  |  |  |  | ADCP Depth |  |  |  |  | Diag. Test / Errors? |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | □ Y or N |  |  |  |  |
| Compass Calib. & Total Error |  |  |  |  |  |  |  | Mag. Var |  |  |  |  |  |  | MagVar Method |  |  |  |  |  |  |  |  |  | Moving Bed? |  |  |
| Y or N |  |  |  |  |  |  |  |  |  |  |  |  |  |  | On-site Model Previous |  |  |  |  |  |  |  |  |  | Y or N |  |  |
| Meas. Water Temp |  |  |  |  | ADCP Water Temp |  |  |  |  |  |  |  | Weather / Air Temp |  |  |  |  |  |  |  |  |  |  | Wind Speed / Dir. |  |  |  |
| F / C at |  |  |  |  | F / C at |  |  |  |  |  |  |  | F / C |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

| Gage Readings |  |  |  |  |  |  | Site Conditions |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Time |  |  |  |  | Inside | Outside | Max Water Depth |  |  |
|  |  |  |  |  |  |  | Max Water Speed |  |  |
|  |  |  |  |  |  |  | Max Boat Speed |  |  |
|  |  |  |  |  |  |  | Water Mode |  |  |
|  |  |  |  |  |  |  | Bottom Mode |  |  |
|  |  |  |  |  |  |  | Streambed material |  |  |
|  |  |  |  |  |  |  | Salinity |  |  |
|  |  |  |  |  |  |  | ppt at |  |  |
| Weighted MGH |  |  |  |  |  |  | Checkbar found |  |  |
| GH corrections |  |  |  |  |  |  | Checkbar changed to: |  |  |
| Correct MGH |  |  |  |  |  |  | at |  |  |

| Wading, cable, ice, boat, upstr., downstr., side bridge |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | ft., mi. upstr., downstr. of gage |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Measurement rated: |  |  |  |  |  | excellent (2%),good (5%), fair (8%), poor (>8%) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | based on following conditions |  |  |  |  |  |  |  |
| Flow |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cross section: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Control: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Gage operating: |  |  |  | Y or N |  |  |  |  | Record removed: |  |  |  |  | Y or N |  |  |  |  |  | Filename: |  |  |  |  |  |  |  |  |  |  |  |  |
| Battery voltage |  |  |  | V |  |  |  |  |  | Intakes/Orifice cleaned/purged: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bubble-gage psi: |  |  |  |  | Tank |  |  |  |  |  |  |  | Line |  |  |  |  |  | Bubble rate |  |  |  |  |  | / min |  |  |  |  |  |  |  |
| Extreme-GH indicators: |  |  |  |  |  |  |  | Max |  |  |  |  |  |  |  | Min |  |  |  |  |  |  |  |  |  | CSG Checked |  |  |  |  | Y or N |  |
| HWM on stick |  |  |  |  |  |  |  |  |  |  | Ref elev. |  |  |  |  |  |  |  |  |  |  | HWM elevation |  |  |  |  |  |  |  |  |  |  |
| GH of zero flow = GH |  |  |  |  |  |  |  |  |  |  |  | - depth at control |  |  |  |  |  |  |  |  | = |  | ft, |  |  |  |  | Rated= |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Sheet No. |  |  |  |  |  |  |  |  | of |  |  |  | sheets |  |  |  |

| 9-275-I | 10/24/08 |  |  |  |  | # U.S. Department of The Interior U.S. Geological Survey |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Meas. No. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Station Number |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Processed by |  |  |  |  |  |
|  |  |  |  |  |  | ## ADCP Discharge Measurement Notes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Checked by |  |  |  |  |  |
| Station Name |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Date |  |  | , 20_____ |  |  |  |  |  |  |  | Party |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Width |  | Area / Rated Area |  |  |  |  |  |  | Velocity |  |  |  |  |  |  | Index Vel. |  |  |  | Gage Height |  |  |  |  |  | Discharge |  |
| Gage Height Change |  |  |  |  |  |  | Meas. plots |  |  |  |  | From rating |  |  |  |  | Shift |  |  |  | ADCP Sync’d to WT |  |  |  |  |  |  |
| in hrs. |  |  |  |  |  |  | % diff |  |  |  |  | No.: |  |  |  |  |  |  |  |  | Y at _______ or N |  |  |  |  |  |  |
| ADCP Mfr / Model / Frequency |  |  |  |  |  |  |  |  |  |  |  |  |  | Serial No. |  |  |  |  | Firmware |  |  |  | Software |  |  |  |  |
| Boat/Motors Used |  |  |  |  |  |  |  |  |  | GPS Used |  |  |  |  |  |  |  | ADCP Depth |  |  |  |  | Diag. Test / Errors? |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | □ Y or N |  |  |  |  |
| Compass Calib. & Total Error |  |  |  |  |  |  |  | Mag. Var |  |  |  |  |  |  | MagVar Method |  |  |  |  |  |  |  |  |  | Moving Bed? |  |  |
| Y or N |  |  |  |  |  |  |  |  |  |  |  |  |  |  | On-site Model Previous |  |  |  |  |  |  |  |  |  | Y or N |  |  |
| Meas. Water Temp |  |  |  |  | ADCP Water Temp |  |  |  |  |  |  |  | Weather / Air Temp |  |  |  |  |  |  |  |  |  |  | Wind Speed / Dir. |  |  |  |
| F / C at |  |  |  |  | F / C at |  |  |  |  |  |  |  | F / C |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

| Gage Readings |  |  |  |  |  |  | Site Conditions |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Time |  |  |  |  | Inside | Outside | Max Water Depth |  |  |
|  |  |  |  |  |  |  | Max Water Speed |  |  |
|  |  |  |  |  |  |  | Max Boat Speed |  |  |
|  |  |  |  |  |  |  | Water Mode |  |  |
|  |  |  |  |  |  |  | Bottom Mode |  |  |
|  |  |  |  |  |  |  | Streambed material |  |  |
|  |  |  |  |  |  |  | Salinity |  |  |
|  |  |  |  |  |  |  | ppt at |  |  |
| Weighted MGH |  |  |  |  |  |  | Checkbar found |  |  |
| GH corrections |  |  |  |  |  |  | Checkbar changed to: |  |  |
| Correct MGH |  |  |  |  |  |  | at |  |  |

| Wading, cable, ice, boat, upstr., downstr., side bridge |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | ft., mi. upstr., downstr. of gage |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Measurement rated: |  |  |  |  |  | excellent (2%),good (5%), fair (8%), poor (>8%) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | based on following conditions |  |  |  |  |  |  |  |
| Flow |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cross section: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Control: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Gage operating: |  |  |  | Y or N |  |  |  |  | Record removed: |  |  |  |  | Y or N |  |  |  |  |  | Filename: |  |  |  |  |  |  |  |  |  |  |  |  |
| Battery voltage |  |  |  | V |  |  |  |  |  | Intakes/Orifice cleaned/purged: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bubble-gage psi: |  |  |  |  | Tank |  |  |  |  |  |  |  | Line |  |  |  |  |  | Bubble rate |  |  |  |  |  | / min |  |  |  |  |  |  |  |
| Extreme-GH indicators: |  |  |  |  |  |  |  | Max |  |  |  |  |  |  |  | Min |  |  |  |  |  |  |  |  |  | CSG Checked |  |  |  |  | Y or N |  |
| HWM on stick |  |  |  |  |  |  |  |  |  |  | Ref elev. |  |  |  |  |  |  |  |  |  |  | HWM elevation |  |  |  |  |  |  |  |  |  |  |
| GH of zero flow = GH |  |  |  |  |  |  |  |  |  |  |  | - depth at control |  |  |  |  |  |  |  |  | = |  | ft, |  |  |  |  | Rated= |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Sheet No. |  |  |  |  |  |  |  |  | of |  |  |  | sheets |  |  |  |

| Acoustic Profiler Discharge Measurement Notes |  |  |  |  |  |  | Filename Prefix: |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Left Bank: | Sloping Vertical Other:_______________ |  |  |  |  | Right Bank: | Sloping Vertical Other:_______________ |
| Transect No. | Starting |  |  | Ending |  | Total Discharge | Notes |
|  | Bank | Time | Distance | Distance | Time |  |  |
|  | L R |  |  |  |  |  |  |
|  | L R |  |  |  |  |  |  |
|  | L R |  |  |  |  |  |  |
|  | L R |  |  |  |  |  |  |
|  | L R |  |  |  |  |  |  |
|  | L R |  |  |  |  |  |  |
|  | L R |  |  |  |  |  |  |
|  | L R |  |  |  |  |  |  |
|  | L R |  |  |  |  |  |  |
|  | L R |  |  |  |  |  |  |
|  | L R |  |  |  |  |  |  |
|  | L R |  |  |  |  |  |  |
|  | L R |  |  |  |  |  |  |
| Notes |  |  |  |  |  |  |  |

| Acoustic Profiler Discharge Measurement Notes |  |  |  |  |  |  | Filename Prefix: |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Left Bank: | Sloping Vertical Other:_______________ |  |  |  |  | Right Bank: | Sloping Vertical Other:_______________ |
| Transect No. | Starting |  |  | Ending |  | Total Discharge | Notes |
|  | Bank | Time | Distance | Distance | Time |  |  |
|  | L R |  |  |  |  |  |  |
|  | L R |  |  |  |  |  |  |
|  | L R |  |  |  |  |  |  |
|  | L R |  |  |  |  |  |  |
|  | L R |  |  |  |  |  |  |
|  | L R |  |  |  |  |  |  |
|  | L R |  |  |  |  |  |  |
|  | L R |  |  |  |  |  |  |
|  | L R |  |  |  |  |  |  |
|  | L R |  |  |  |  |  |  |
|  | L R |  |  |  |  |  |  |
|  | L R |  |  |  |  |  |  |
|  | L R |  |  |  |  |  |  |
| Notes |  |  |  |  |  |  |  |