ADCP Discharge Measurement Review 

	Station number:
	
	Station name:
	

	Office:
	
	Reviewer:
	Kevin Oberg

	Date of review:
	
	Qm(s) inspected:
	


	Measurement Notes and Summary
	Yes
	No

	1. Are measurement notes complete and are notes about field conditions adequate?
	
	

	Comment:
	

	2. Weather & other meas. factors described?
	
	

	Comment:
	

	3. Is the Qm location characterized? 
	
	

	Comment:
	

	4. ADCP time synchronized with logger/DCP? 
	
	

	Comment:
	

	5. Is the latest OSW-recommended software being used? 
	
	

	Comment:
	

	6. Is the OSW-recommended firmware being used? 
	
	

	Comment:
	

	7. Was the discharge summary wizard used? 
	
	

	Comment:
	

	8. ADCP depth measured and logged? 
	
	

	Comment:
	

	9. Is a diagnostic test done prior to every Qm or minimum of once per day? 
	
	

	Comment:
	

	10. Are compass calibrations done for every measurement? 
	
	

	Comment:
	

	11. Are moving-bed tests made, and recorded? 
	
	

	Comment:
	

	12. If moving bed test indicates a bottom-tracking bias, is DGPS being used? 
	
	

	Comment:
	

	13. If not, is any adjustment to the measured discharge made? 
	
	

	Comment:
	

	14. Source of magnetic variation recorded? 
	
	

	Comment:
	

	15. Source of magnetic variation appropriate? 
	
	

	Comment:
	

	16. Were thresholds used? 
	
	

	Comment:
	

	17. Was configuration proper for measurement section? 
	
	

	Comment:
	

	18. Are measured discharges within 5% of the mean of all transects? 
	
	

	Comment:
	

	19. Are Qm's made consisting of 4 transects, 2 pairs of reciprocal courses? 
	
	

	Comment:
	

	20. Evidence of directional bias in Q’s? 
	
	

	Comment:
	

	21. Are edge distances measured (not estimated)? 
	
	

	Comment:
	

	22. Are edge discharges consistent? 
	
	

	Comment:
	

	23. Are widths consistent? 
	
	

	Comment:
	

	24. Are areas consistent? 
	
	

	Comment:
	

	25. Were files locked? 
	
	

	Comment:
	

	26. Boat velocities reasonable for conditions? 
	
	

	Comment:
	

	27. Number of ensembles reasonable? 
	
	

	Comment:
	

	28. Ambiguity velocities evident? 
	
	

	Comment:
	

	29. Are threshold values appropriate? 
	
	

	Comment:
	

	30. Sections suitable for discharge measurements? 
	
	

	Comment:
	

	31. Appropriate starting and stopping points? 
	
	

	Comment:
	

	32. Were any user commands used? 
	
	

	Comment:
	

	33. Pitch and roll reasonable? 
	
	

	Comment:
	

	34. Are moving bed tests 10 minutes long (or 5 minutes minimum)? 
	
	

	Comment:
	


General Comments
     

1

